## Tabelle1
Uncertainty requirements for continuous monitoring (AMS)
Status March 2022
| Germany | UK | France | The Netherlands | Italy | Denmark | Sweden | Finland | * EN 15259, 8.3 Note 10 for periodic measurement as percentage of measurement range
|  | (Env. Agency) | [6 empty] | ** of the reference value
component | P in % | P in % | P in % | P in % | P in % | P in % | P in % | P in % | *** of the measured value
HCHO | 30
NH3 | 40 | 30 | 40 | 40 | 40 % < 20 mg/m3 10 % for > 20 mg/m3 | 40 |  | 40
Hg | 40 | 30 |  | 40 |  | 40 |  | 40
O2 | 6* | 0,5 %vol | 15** |  | 10 % of 21 %vol | 6*
CO2 | 6* |  |  |  | 10 % of 25 %vol | 6*
N2O | 20 |  |  | 40
H2O | 30* | 20 | 30*** |  | 30 % of 25 %vol | 30*
CH4 | 20 |  |  | 40
IED | EU
component | P in %
CO | 10
Dust | 30
HCl | 40
HF | 40
NOx | 20
SO2 | 20
TVOC | 30